INSPECTION OF ENGINEERED SUBSURFACE WASTEWATER SYSTEM

| Health Department | Name of Establishment | Permit/Project No. |
| --- | --- | --- |
| Location | Type of Establishment |  | Design Flow |
| Owner/Agent | Address |  | Phone |
| Operator | Address |  | Phone |
| Remarks |  |
|  | Yes | No | REMARKS |
| ESTABLISHMENT: Type, size, and sewage flow in accordance with permit? …................. COLLECTION SYSTEM: No evidence of leaks into or out from sewer lines/manholes? …........... Free of blockages/solids buildup in lines or manholes? ...……….......... TANKAGE (Grease Traps/Lift Stations/Septic/Dosing Tanks): Tank risers accessible and surface water diverted? ..……………......... Tanks and access manholes structurally sound, watertight?…….......... Sanitary tee(s) in good working condition? ………………................... Tanks pumped, cleaned out as needed? ……………...…………......... RAW SEWAGE LIFT STATION (if present): Required pumps present, operating, and cycling properly? ..……........ High-water alarm present and operating properly?………….................. Floats/pipe/valves/disconnects in good working condition?…............... Control panel enclosure/components in good condition? ...................... EFFLUENT DOSING SYSTEM: Effluent appears clear, free of excess solids? ........................................ PUMP SYSTEMS: Required pumps present, operating, and cycling properly? ….............. High-water alarm present and operating properly?……........................ Floats/pipe/valves/disconnects in good working condition? .................. Control panel enclosure/components in good condition? .………......... Elapsed time reading: _______ _______ _______ _______ SIPHON SYSTEMS: No evidence of overflow or siphon leakage?..…………........................ Siphon(s) appear to be working/alternating properly? ………….......... Bells and vents free of debris and in good condition? .………….......... GROUND ABSORPTION FIELDS: No evidence of effluent surfacing/reaching surface waters? .................. Minimal ponding in subsurface trenches? .................…………............ Surface water being effectively diverted away? ……………................. Diversions/ditches/swales/tile drains properly maintained? .................. Line cover/vegetation adequate/maintained as needed? ………............ Protected from traffic, destructive uses? ……………………................ Distribution devices in good condition, working properly? ................... Repair area properly reserved, maintained? .......................................... LOW-PRESSURE PIPE DRAIN FIELDS Turnups/cleanouts/valves intact and accessible? ………..................... No effluent standing in lower laterals? ………………………….......... Laterals free of excess solids, cleaned out as needed? …...................... Pressure head is properly adjusted? ………………………….............. |  |  |  |
| OVERALL CONDITION AND OPERATION OF SYSTEM: |  |
| SUMMARY OF IMPROVEMENTS NEEDED: |
| Improvement | Repair Within (Days) |
| DATE: |  | SIGNED: |  | AGENT |
|  |  |  | Division of Environmental Health |  |

- over -

| Improvement | Repair Within (Days) |
| --- | --- |
| INTENT TO SUSPEND OR REVOKE PERMIT |
| This is to notify you of intent to suspend/revoke your operation permit/certificate of completion 60 days from this date for the following (circle one) (circle one) |
| violations: |  |
| [Law or Rule(s)] |
| If suspended, the operation permit or certificate of completion remains suspended until violations are corrected. A hearing will be held prior to suspension or revocation if you file a petition for a hearing with the office of Administrative Hearings, P. O. Drawer 27447, Raleigh, NC 27611-7447, in writing within the number of days specified above of your intent to attend the hearing. If you do not petition the Office of Administrative Hearings, the operation permit or certificate of completion will be suspended or revoked. |
| IMMEDIATE SUSPENSION OR REVOCATION OF PERMIT |
| This is to notify you of intent to suspend/revoke your operation permit/certificate of completion 60 days from this date for the following (circle one) (circle one) |
| [Law or Rule(s)] |
| If suspended, the permit or certificate remains suspended until the violations are corrected. You will be notified of the day and location of a hearing on this suspension or revocation by a hearing officer from the Office of Administrative Hearings. |
| This the |  | day of |  | , | 20 |  | . |
|  |  | Agent |
|  | DIVISION OF ENVIRONMENTAL HEALTH |  |

| INSTRUCTIONS |
| --- |
| Purpose: | Article 11 of Chapter 130A requires the Commission for Health Services to adopt rules governing the design, construction, and operation of on-site wastewater systems. 15A NCAC 18A .1937 specifies that the local health department shall determine whether system with an Operation Permit are operating properly at a frequency specified in Rule .196, Table V(a), and that systems which exceed 3,000 gallons per day and other systems which are required to be designed by a professional engineer shall be reinspected annually. This form is developed to be used in making inspections of engineered subsurface wastewater systems. |
| Preparation: | Local environmental health specialists shall complete the form every time they conduct an inspection. Prepare an original and two copies for: Original to be left with the responsible person. Copy for the local health department. Copy for the On-Site Wastewater Section, Division of Environmental Health. In the event the permit is suspended or revoked, complete the portion above. |
| Disposition: | This form may be destroyed in accordance with Standard 7, Inspection Records, of the Records Disposition Schedule published by the N.C. Division of Archives and History. |
| Additional forms may be ordered from: | On-Site Wastewater Section Division of Environmental Health 1642 Mail Service Center Raleigh, NC 27699-1642 (Courier 52-01-00) |